University of Cambridge

Centre for Mathematical Sciences

VOLATILE SOLVENT PERMIT version 1.0

A Volatile Solvent Permit is required for ALL uses of volatile solvent not specifically excluded.

Volatile Solvent Permits can only be issued within 24 hours of the work commencing.

In all cases, the Material Data Sheet for the preparation being used must be attached to the permit.

In most cases a standard Risk Assessment is required in addition to a Volatile Solvent Permit.

Building …….….….….….…………………………… Floor/Room …….…….......….….…….…………..

Contractor (name and address) or operator/department …………...........……………………………………

Responsible employee in charge of work …………………………………….......................……………….

Nature of work ………………………………………………………………….........………………………

.….……………………………………………………………………………………………………………

.…………………………………………………………………………………….…………………………

List solvent(s) and associated risk phrases

Are any of the solvents carcinogenic or mutagenic? Yes/No

Has a full risk assessment been completed?	Yes/No

Is the risk assessment satisfactory? 	Yes/No/Not Applicable

Declaration: This work has been assessed and the above location has been examined and the precautions listed on the reverse side of this form have been taken.

Date …....……….…. Time of issue of Permit ………....……… Time of expiry of Permit ….….….…........

Signature of person issuing permit (SO or Head Technician) ………………….…………… Date .….…......

Signature of person to whom Permit is issued ……………….……….….….….….….......… Date .….…......

Signature of person monitoring the spread of vapours ……….……….….….….….….......… Date .….…......

Volatile Solvent Permits are not issued for protracted periods. Fresh Permits are required for each day’s work and can only be issued within 24 hours of the work commencing.

Copies of the Permit must be given to the Safety Officer and the personnel undertaking the work prior to the work commencing. Additionally, in the GK Batchelor Laboratory, a copy must be placed in the safety information tray located just inside each work area; this copy should be removed the day after the work is completed.

# Precautions

(The person carrying out this check must explicitly answer each question. This sheet must be attached to all copies of the Permit.)

Is adequate ventilation provided? Is mechanical extract required? Estimate the time required for the vapours to disperse.

Are there any security implications? Give details.

What routes for vapours exist to other parts of the building? What measures have been taken to minimise or prevent infiltration into office and communal areas?

Have other occupants of the building been warned/advised that solvents will be used? If not, why?

If appropriate, explain why the work is to be undertaken within normal working hours (8:30-18:00).

If appropriate, state additional risks and measures to be taken for working outside normal working hours (e.g. lone working).

How might accidental release occur? What should be done to contain/cleanup a spillage? Should the building be evacuated?

Are there any sources of ignition in the area? What measures will be taken to prevent fire in the event of a spill?

Is Personal Protection Equipment required? Give details.

SIGNATURE OF PERSON CARRYING OUT THE ABOVE CHECK ……………………………….

DATE

# Volatile Solvents

A volatile solvent is defined as a non-aqueous liquid with solvent properties with the distinctive characteristic of evaporating readily at room temperature and atmospheric pressure. For the purposes of this Permit, aqueous solutions of harmful gases (e.g. chlorine, ammonia) and refrigerants are also defined as volatile solvents.

A permit is required for all volatile solvents, except when explicitly excluded in the list below. The listed examples are indicative rather than exhaustive. Use of solvents classified as carcinogenic or mutagenic will not be permitted 
(see http://www.admin.cam.ac.uk/cam-only/offices/safety/publications/hsd021c/hsd021c.pdf).

Aqueous solutions of gases

Permit required for more than 10ml/hour to be released anywhere within building (100ml/hour within fume cupboard), except when the release is from a recognised sanitary cleaning product being used in strict accordance with the manufacturer’s instructions.

- ammonia, chlorine, hyperchlorates

Aromatic solvents

Permit required if more than 1ml/hour to be released anywhere in building (100ml/hour in fume cupboard).

- benzene, xylene, toluene, paraxylene, aliphatic hydrocarbon

- most spray or rapid drying solvent paints and coatings

Alcohols

Permit required if more than 50 ml/hour to be released anywhere within building. Note, up to 1 litre of alcohol may be used if immediately diluted with water to form a solution not exceeding 30wt% alcohol.

- methanol, ethanol, isopropyl alcohol, propan2ol

Basic hyrdocarbons

Permit required if more than 50 ml/hour to be released anywhere within building (200ml/hour in fume cupboard).

- white spirits, paraffin, hexane

Chlorinated solvents

Permit required for all use outside fume cupboard. Up to 20ml/hour may be released within the fume cupboard.

- carbon tetrachloride, methylene chloride

Esters

Permit always required

Keytones

Permit required if more than 5ml/hour to be released anywhere in building (200ml/hour in fume cupboard).

- acetone, MIBK, DIBK

Phenols

Permit always required

Refrigerants

A permit must be obtained for any work on refrigeration plant where there is the possibility of refrigerant release.

Water based  paints

Permit required whenever an area in excess of 0.1m2 (~300300mm) to be covered.

- Emulsion, vinyl, acrylic

## Risk Phrases

R1 Explosive when dry

R2 Risk of explosion by shock, friction, fire or other sources of ignition

R3 Extreme risk of explosion by shock, friction, fire or other sources of ignition

R4 Forms very sensitive explosive metallic compounds

R5 Heating may cause an explosion

R6 Explosive with or without contact with air

R7 May cause fire

R8 Contact with combustible material may cause fire

R9 Explosive when mixed with combustible material

R10 Flammable

R11 Highly flammable

R12 Extremely flammable

R14 Reacts violently with water

R14/15 Reacts violently with water, liberating extremely flammable gases

R15 Contact with water liberates extremely flammable gases

R15/29 Contact with water liberates toxic, extremely flammable gases

R16 Explosive when mixed with oxidising substances

R17 Spontaneously flammable in air

R18 In use, may form flammable/explosive vapour-air mixture

R19 May form explosive peroxides

R20 Harmful by inhalation

R20/21 Harmful by inhalation and in contact with skin

R20/21/22 Harmful by inhalation, in contact with skin and if swallowed

R20/22 Harmful by inhalation and if swallowed

R21 Harmful in contact with skin

R21/22 Harmful in contact with skin and if swallowed

R22 Harmful if swallowed

R23 Toxic by inhalation

R23/24 Toxic by inhalation and in contact with skin

R23/24/25 Toxic by inhalation, in contact with skin and if swallowed

R23/25 Toxic by inhalation and if swallowed

R24 Toxic in contact with skin

R24/25 Toxic in contact with skin and if swallowed

R25 Toxic if swallowed

R26 Very toxic by inhalation

R26/27 Very toxic by inhalation and in contact with skin

R26/27/28 Very toxic by inhalation, in contact with skin and if swallowed

R26/28 Very toxic by inhalation and if swallowed

R27 Very toxic in contact with skin

R27/28 Very toxic in contact with skin and if swallowed

R28 Very toxic if swallowed

R30 Can become highly flammable in use

R31 Contact with acids liberates toxic gas

R32 Contact with acids liberates very toxic gas

R33 Danger of cumulative effects

R34 Causes burns

R35 Causes severe burns

R36 Irritating to eyes

R36/37 Irritating to eyes and respiratory system

R36/37/38 Irritating to eyes, respiratory system and skin

R36/38 Irritating to eyes and skin

R37 Irritating to respiratory system

R37/38 Irritating to respiratory system and skin

R38 Irritating to skin

R39 Danger of very serious irreversible effects

R39/23 Toxic: danger of very serious irreversible effects through inhalation

R39/23/24 Toxic: danger of very serious irreversible effects through inhalation and in contact with skin

R39/23/24/25 Toxic: danger of very serious irreversible effects through inhalation, in contact with skin and if swallowed

R39/23/25 Toxic: danger of very serious irreversible effects through inhalation and if swallowed

R39/24 Toxic: danger of very serious irreversible effects in contact with skin

R39/24/25 Toxic: danger of very serious irreversible effects in contact with skin and if swallowed

R39/25 Toxic: danger of very serious irreversible effects if swallowed

R39/26 Very Toxic: danger of very serious irreversible effects through inhalation

R39/26/27 Very Toxic: danger of very serious irreversible effects through inhalation and in contact with skin

R39/26/27/28 Very Toxic: danger of very serious irreversible effects through inhalation, in contact with skin and if swallowed

R39/26/28 Very Toxic: danger of very serious irreversible effects through inhalation and if swallowed

R39/27 Very Toxic: danger of very serious irreversible effects in contact with skin

R39/27/28 Very Toxic: danger of very serious irreversible effects in contact with skin and if swallowed

R39/28 Very Toxic: danger of very serious irreversible effects if swallowed

R40 Limited evidence of a carcinogenic effect

R41 Risk of serious damage to eyes

R42 May cause sensitisation by inhalation

R43 May cause sensitisation by skin contact

R42/43 May cause sensitisation by inhalation and skin contact

R44 Risk of explosion if heated under confinement

R45 May cause cancer

R46 May cause heritable genetic damage

R48 Danger of serious damage to health by prolonged exposure

R48/20 Harmful: danger of serious damage to health by prolonged exposure through inhalation

R48/20/21 Harmful: danger of serious damage to health by prolonged exposure through inhalation and in contact with skin

R48/20/21/22 Harmful: danger of serious damage to health by prolonged exposure through inhalation, in contact with skin and if swallowed

R48/20/22 Harmful: danger of serious damage to health by prolonged exposure through inhalation and if swallowed

R48/21 Harmful: danger of serious damage to health by prolonged exposure in contact with skin

R48/21/22 Harmful: danger of serious damage to health by prolonged exposure in contact with skin and if swallowed

R48/22 Harmful: danger of serious damage to health by prolonged exposure if swallowed

R48/23 Toxic: danger of serious damage to health by prolonged exposure through inhalation

R48/23/24 Toxic: danger of serious damage to health by prolonged exposure through inhalation and in contact with skin

R48/23/24/25 Toxic: danger of serious damage to health by prolonged exposure through inhalation, in contact with skin and if swallowed

R48/23/25 Toxic: danger of serious damage to health by prolonged exposure through inhalation and if swallowed

R48/24 Toxic: danger of serious damage to health by prolonged exposure in contact with skin

R48/24/25 Toxic: danger of serious damage to health by prolonged exposure in contact with skin and if swallowed

R48/25 Toxic: danger of serious damage to health by prolonged exposure if swallowed

R49 May cause cancer by inhalation

R50 Very toxic to aquatic organisms

R50/53 Very toxic to aquatic organisms, may cause long-term adverse effects in the aquatic environment

R51 Toxic to aquatic organisms

R51/53 Toxic to aquatic organisms, may cause long-term adverse effects in the aquatic environment

R52 Harmful to aquatic organisms

R52/53 Harmful to aquatic organisms, may cause long-term adverse effects in the aquatic environment

R53 May cause long-term adverse effects in the aquatic environment

R54 Toxic to flora

R55 Toxic to fauna

R56 Toxic to soil organisms

R57 Toxic to bees

R58 May cause long-term adverse effects in the environment

R59 Dangerous for the ozone layer

R60 May impair fertility

R61 May cause harm to the unborn child

R62 Possible risk of impaired fertility

R63 Possible risk of harm to the unborn child

R64 May cause harm to breast-fed babies

R65 Harmful: may cause lung damage if swallowed

R66 Repeated exposure may cause skin dryness or cracking

R67 Vapours may cause drowsiness and dizziness

R68 Possible risk of irreversible effects

R68/20 Harmful: possible risk of irreversible effects through inhalation

R68/20/21 Harmful: possible risk of irreversible effects through inhalation and in contact with skin

R68/20/21/22 Harmful: possible risk of irreversible effects through inhalation, in contact with skin and if swallowed

R68/20/22 Harmful: possible risk of irreversible effects through inhalation and if swallowed

R68/21 Harmful: possible risk of irreversible effects in contact with skin

R68/21/22 Harmful: possible risk of irreversible effects in contact with skin and if swallowed

R68/22 Harmful: possible risk of irreversible effects if swallowed